## Sheet1
Hot Sale List 20년 05월
문의 : ㈜도울테크 / 박종일 팀장
이메일 : jib@doultech.co.kr
연락처 : 070-8855-6641 | [6 empty] | VAT별도
상태 | 품명 | 제조사 | 모델명 | Opt | 내용 | List Price | Sale List 가격
신품(데모용) | Multimeter | Agilent(HP) | U1233A | 데모용 |  | 237900 | 120000
신품(데모용) | Power Meter / Analyzer | Tekon | 550 | 데모용 | 단상, 전기안전대행보고서양식사용가능 | 1300000 | 950000
신품(데모용) | Signal Generator | Doultech | DSG-300A | 데모용 | New, 70MHz~3GHz, PC S/W만, 3G, 4G, LTE, W-CDMA | 9000000 | 7000000
신품/new | Attenuator | Bird | 10-A-MFN-20 |  | 10W 20dB N(m) to N(f) DC-4.0 GHz | 200000 | 120000
신품/new | Clamp Meter | Agilent(HP) | U1212A |  |  | 468398 | 365600
신품/new | Insulation Tester | Agilent(HP) | U1452A |  |  | 1048200 | 774300
신품/new | Insulation Tester | Agilent(HP) | U1452AT |  |  | 897830 | 663300
신품/new | Insulation Tester | Agilent(HP) | U1453A |  |  | 1188087 | 877700
신품/new | LCR Meter (Package) | Agilent(HP) | U1732P |  |  | 623538 | 486700
신품/new | M/W Cable | Huber Suhner | MINI141-48 |  | 24GHz, SMA(m)-SMA(m) |  | 51400
신품/new | M/W Cable | Huber Suhner | MINIBEND-13 |  | 24GHz, SMA(m)-SMA(m) |  | 51400
신품/new | M/W Cable | Huber Suhner | MINIBEND-18.5 |  | 24GHz, SMA(m)-SMA(m) |  | 51400
신품/new | M/W Cable | Huber Suhner | MINIBEND-20 |  | 26.5GHz, SMA(m)-SMA(m) |  | 96500
신품/new | M/W Cable | Huber Suhner | SF526S/11PC35/21PC35/1000mm |  | 26.5GHz, PC3.5(female)-PC3.5(male), 1000mm | 1185300 | 829700
신품/new | M/W Cable | Huber Suhner | SF526S/2*11N/1000mm |  | 18GHz, N(female)-N(male), 1000mm | 1080000 | 700000
신품/new | M/W Cable | Huber Suhner | SF526S/2*11PC35/1000mm |  | 26.5GHz, PC3.5(male)-PC3.5(male), 1000mm | 1120000 | 720000
신품/new | M/W Cable | Huber Suhner | SF526V/35VF/35VM/635mm |  | 26.5GHz, PC3.5(female)-PC3.5(male), 635mm | 2300000 | 1610000
신품/new | M/W Cable | Huber Suhner | TL-8A-11N-11SMA-00600-51 |  | 8GHz, N(male)-SMA(m), 600mm | 187700 | 90000
신품/new | Oscilloscope | Agilent(HP) | U1602B | 001 (USB) | 20MHz, 2CH | 2240000 | 1344000
신품/new | Oscilloscope | Agilent(HP) | U1604B | 001 (USB) | 40MHz, 2CH | 2742000 | 1645200
신품/new | Power supply | SMtech | SDP30-3D |  |  | 130000 | 117300
신품/new | Power supply | SMtech | SDP30-3DT |  |  | 285000 | 264000
신품/new | Power supply | SMtech | SDP30-5D |  |  | 170000 | 152700
신품/new | Power supply | SMtech | SDP30-5DT |  |  | 350000 | 305500
신품/new | Power supply | Toyotech | TPS-2002 |  | 200V 2A |  | 1000000
신품/new | Power supply | Xantrex | XTS20-3 |  | 20V, 3A, GPIB |  | 350000
신품/new | 열화상카메라 | ICI | T-Cam 80P |  | 외장Mini Sdcard, -20 ~ 350도, 80*80 | 1650000 | 1050000
신품/new | 적외선온도계 | Smart Sensor | AR842A+ |  | -50 ~ 600도 | 70000 | 60000
중고/used | Attenuator | Bird | 1000-WA-FFN-30 |  |  |  | 600000
중고/used | Attenuator | Bird | 300-WA-FFN-40 |  | 300W Fixed Attenuator N(f)-N(f) 40dB, 2.4GHz |  | 200000
중고/used | Attenuator | Bird | 500-WA-MFN-30 |  |  |  | 400000
중고/used | Attenuator | INMET | 2N50W-30F |  | 2.5G, 50W, 30dB, N(f)toN(f) |  | 100000
중고/used | Attenuator | JFW | 50FH-010-10 |  | 4GHz, 10W, 10dB, N(m)toN(f) |  | 100000
중고/used | Attenuator | JFW | 50FH-020-10 |  | 4GHz, 10W, 20dB, N(m)toN(f) |  | 100000
중고/used | Attenuator | JFW | 50FHC-010-20 |  | 4GHz, 20W, 10dB, N(m)toN(f) |  | 100000
중고/used | Attenuator | JFW | 50FHC-020-20 |  | 4GHz, 20W, 20dB, N(m)toN(f) |  | 100000
중고/used | Attenuator | Narda | 765-10 |  | 5G, 50W, 10dB |  | 100000
중고/used | Attenuator | Narda | 766-10 |  | 4G, 20W, 10dB, N(f)-N(m) |  | 100000
중고/used | Attenuator | Narda | 766-3 |  | 4G, 20W, 3dB, N(f)-N(m) |  | 100000
중고/used | Attenuator | Narda | 768-20 |  | 11G, 20W, 20dB |  | 100000
중고/used | Attenuator | Radiall | R417306118 |  | 2GHz, 25W, 6dB, N(m)toN(f) |  | 100000
중고/used | Attenuator | Radiall | R417310118 |  | 2GHz, 25W, 10dB, N(m)toN(f) |  | 100000
중고/used | Attenuator | Weinschel | 23-10-34 |  | 18GHz, 10W, 10dB |  | 100000
중고/used | Attenuator | Weinschel | 23-20-34 |  | 18GHz, 10W, 20dB |  | 100000
중고/used | Attenuator | Weinschel | 23-6-34 |  | 18GHz, 10W, 6dB |  | 100000
중고/used | Attenuator | Weinschel | 24-10-34 |  | 8,5GHz, 50W, 10dB |  | 100000
중고/used | Attenuator | Weinschel | 24-10-43 |  | 8,5GHz, 50W, 10dB |  | 100000
중고/used | Attenuator | Weinschel | 24-20-43 |  | 8,5GHz, 50W, 20dB |  | 100000
중고/used | Attenuator | Weinschel | 24-3-43 |  | 8.5G, 50W, 3dB |  | 100000
중고/used | Attenuator | Weinschel | 33-20-34 |  | 8.5G, 25W, 20dB |  | 100000
중고/used | Attenuator | Weinschel | 33-3-34 |  | 8.5GHz, 50W, 3dB |  | 100000
중고/used | Attenuator | Weinschel | 34-20-34 |  | 4GHz, 25W, 20dB, N(f)-N(m) |  | 100000
중고/used | Attenuator | Weinschel | 45-30-43 |  | 1.5G, 250W, 30dB |  | 200000
중고/used | Attenuator | Weinschel | 47-10-34 |  | 18GHz(?), 50W, 10dB |  | 100000
중고/used | Attenuator | Weinschel | 48-10-34 |  | 18GHz, 100W, 10dB |  | 100000
중고/used | Attenuator | Weinschel | 49-30-34 |  | 8.5GHz, 150W, 30dB |  | 100000
중고/used | Attenuator | Weinschel | 58-40-34 |  | 6GHz, 250W, 40dB |  | 200000
중고/used | Attenuator | Weinschel | 68-30-43 |  | 4GHz, 100W, 30dB |  | 100000
중고/used | Attenuator | Weinschel Associates | WA33-10 |  | 8.5GHz, 25W, 10dB, N(m)toN(f) |  | 100000
중고/used | AWG | Tektronix | AWG2040 |  |  |  | 1000000
중고/used | AWG | Tektronix | AWG510/03 |  |  |  | 1500000
중고/used | AWG | Tektronix | AWG710B |  |  |  | 4000000
중고/used | Battery Analyzer | Powertron | IBEX2000 |  |  |  | 700000
중고/used | Battery Analyzer | Powertron | IBEX3000 |  |  |  | 900000
중고/used | Battery Analyzer | Wens | WENS900 |  |  |  | 1300000
중고/used | Battery Analyzer | Wens | WENS900B |  |  |  | 1500000
중고/used | Bluetooth tester | Tescom | TC-3000A | 10/20/30 |  |  | 1500000
중고/used | Bluetooth tester | Tescom | TC-3000A | 10/20/30/40 |  |  | 3000000
중고/used | Bluetooth tester | Tescom | TC-3000A | 10/20/40 |  |  | 1500000
중고/used | Bluetooth tester | Tescom | TC-3000C | 10/20/30/40/50 |  |  | 19000000
중고/used | Capacitance Meter | Agilent(HP) | 4278A | 101/201 | 1kHz, 1MHz |  | 1000000
중고/used | Coupler | Narda | 3002-20 |  | 0.95~2GHz |  | 200000
중고/used | Current Probe | Tektronix | TCP202 |  | DC~50MHz, Peak 50A, Permanent DC 30A |  | 1400000
중고/used | Data Acquision Unit | Fluke | 2640A/41A |  |  |  | 800000
중고/used | Data Acquisition Module | Agilent(HP) | 34903A | Module | 20CH Actuato/GP Switch |  | 100000
중고/used | Data Acquisition System | LDS Nicolet | Vision XP |  | 8CH |  | 800000
중고/used | Differential Probe | Tektronix | P7313-SMA |  |  |  | 2800000
중고/used | Electronic Load | Kikusui | PLZ-152WA |  | 150w |  | 700000
중고/used | Function Generator | Agilent(HP) | 33120A |  |  |  | 500000
중고/used | Function Generator | Agilent(HP) | 33220A |  | 1 uHz - 20 MHz |  | 1200000
중고/used | GPIB Cable | Agilent(HP) | 10833 |  |  |  | 10000
중고/used | High Impedance Buffer Amp. | Tektronix | TCA-1MEG |  |  |  | 650000
중고/used | Impedance Analyzer | HP | 4194A |  |  |  | 5000000
중고/used | L meter | NF | 2331TI |  |  |  | 1000000
중고/used | LAN Tester | JDSU | NT-1155 |  |  |  | 1000000
중고/used | LCR Meter | Fluke | PM6304 | 003 | 1mHz~100kHz |  | 1000000
중고/used | LCR Meter | Hioki | 3522-50 |  | 1mHz~100kHz |  | 1200000
중고/used | Leakage Current Tester | Hioki | 3283 |  |  |  | 300000
중고/used | Leakage Current Tester | Kyoritsu | 2433 |  |  |  | 200000
중고/used | Mobile Corder | Yokogawa | DX106 |  |  |  | 300000
중고/used | Mobile Test Analyzer | Anritsu | MT8820C |  | 3G |  | 2000000
중고/used | Mobile Test Analyzer | R&S | CMW500 |  | LTE, Signalling 2CH |  | 12000000
중고/used | Multimeter | Agilent(HP) | U3401A |  |  |  | 400000
중고/used | Multimeter | EZ | DM-441B |  | 4.5 digit |  | 100000
중고/used | Multimeter | Fluke | 45 |  |  |  | 400000
중고/used | Multimeter | Keithley | 2701 |  | Data Acquisition |  | 600000
중고/used | Multimeter | Tektronix | DMM254 |  |  |  | 100000
중고/used | Network Analyzer | Agilent(HP) | 4396A | 1C2/1D5/1D6 |  |  | 2000000
중고/used | Network Analyzer | Agilent(HP) | 8753E | 006 |  |  | 5000000
중고/used | Network Analyzer | Agilent(HP) | 8753ES | 006 | 6GHz |  | 6000000
중고/used | Network Analyzer | HP | 8753D | 1D5/002/006/010 |  |  | 4500000
중고/used | Network Analyzer | ProtEK | A333 |  | 0.3Mhz~3.2GHz |  | 3500000
중고/used | Network Analyzer | ProtEK | A338 |  | 300kHz ~ 8GHz |  | 9000000
중고/used | Network Analyzer | R&S | ZVRE | B21/B23/B24 | 9kH~4GHz |  | 3500000
중고/used | Optical Fiber Identifier | Wilcom | F6222 |  |  |  | 450000
중고/used | Optical Fusion Splicer | Inno | IFS-10 |  |  |  | 3000000
중고/used | Optical Fusion Splicer | Sumitimo | TYPE-81M12 |  |  |  | 6800000
중고/used | Optical Power meter | Damul | Damul1.0 |  |  |  | 120000
중고/used | Optical Power meter | JDSU | OLP-35 |  | 780~1650nm, -65~+10dBm |  | 350000
중고/used | Optical Power meter | JDSU | OLP-38 |  |  |  | 350000
중고/used | Optical Power meter | JDSU | OLP-55 |  | 800~1700nm, -60~+26dBm |  | 400000
중고/used | Optical Power meter | JDSU | OLP-6 |  |  |  | 100000
중고/used | Optical Power meter | Ynet | FOF-100 |  |  |  | 120000
중고/used | Optical Power source | JDSU | OLS-10 |  |  |  | 350000
중고/used | Optical Power source | JDSU | OLS-25 |  |  |  | 350000
중고/used | Optical Power source | JDSU | OLS-35 |  |  |  | 500000
중고/used | Optical Spectrum Analyzer | Ando | AQ6331 |  |  |  | 6000000
중고/used | Oscilloscope | Agilent(HP) | 54825A |  | 500MHz, 4CH, 2GSa/s |  | 1400000
중고/used | Oscilloscope | Agilent(HP) | 54846A |  |  |  | 4000000
중고/used | Oscilloscope | Agilent(HP) | DSO1024A |  | 200MHZ, 4CH |  | 1500000
중고/used | Oscilloscope | Agilent(HP) | DSO3102A |  | 100MHz, 2CH |  | 400000
중고/used | Oscilloscope | Fluke | 196B |  | 100Mhz, 2CH |  | 700000
중고/used | Oscilloscope | Lecroy | 9354AL |  | 500MHz, 4CH |  | 700000
중고/used | Oscilloscope | LeCroy | LT374L |  |  |  | 1200000
중고/used | Oscilloscope | LeCroy | LT584L |  |  |  | 1600000
중고/used | Oscilloscope | Lecroy | Wavepro-7200A |  | 2GHz, 4CH |  | 2500000
중고/used | Oscilloscope | Lecroy | Waverunner44Xi |  | 400mhZ, 4CH |  | 2000000
중고/used | Oscilloscope | Lecroy | Waverunner6051A |  | 500MHz, 2CH |  | 1500000
중고/used | Oscilloscope | LeCroy | Waverunner-64Xi-A |  | 600MHz, 4CH |  | 5500000
중고/used | Oscilloscope | Tektronix | 11801B | SD-24 | Main Frame |  | 1000000
중고/used | Oscilloscope | Tektronix | DPO2014 |  |  |  | 1400000
중고/used | Oscilloscope | Tektronix | TBS1202B |  | 200MHz, 2채널, 2GS/s |  | 1400000
중고/used | Oscilloscope | Tektronix | TDS2012C |  | 100MHz, 2CH |  | 800000
중고/used | Oscilloscope | Tektronix | TDS2022B |  |  |  | 1400000
중고/used | Oscilloscope | Tektronix | TDS2024B |  |  |  | 1800000
중고/used | Oscilloscope | Tektronix | TDS3012 |  | 100MHz, 2CH |  | 800000
중고/used | Oscilloscope | Tektronix | TDS3012B |  | 100MHz, 2CH |  | 900000
중고/used | Oscilloscope | Tektronix | TDS3014 |  | 100MHz, 4CH |  | 1000000
중고/used | Oscilloscope | Tektronix | TDS3032 |  | 300MHz, 2CH |  | 1300000
중고/used | Oscilloscope | Tektronix | TDS3052B |  | 500MHz, 2CH |  | 2000000
중고/used | Oscilloscope | Tektronix | TDS3054 |  | 500MHz, 4CH |  | 2300000
중고/used | Oscilloscope | Tektronix | TDS3054B |  | 500MHz, 2CH |  | 2500000
중고/used | Oscilloscope | Tektronix | TDS520A |  | 500MHz, 2CH |  | 500000
중고/used | Oscilloscope | Tektronix | TDS7104 |  | 1GHz, 4CH |  | 2200000
중고/used | Oscilloscope | Tektronix | TDS7154 |  | 1.5GHz, 4CH |  | 2700000
중고/used | Oscilloscope | Tektronix | TDS744A |  | 500MHz, 4CH |  | 1300000
중고/used | Oscilloscope | Tektronix | TDS754C | 13/1F/HD/2M/2F/2C | 500MHz, 4CH |  | 1500000
중고/used | Oscilloscope | Tektronix | THS710A |  | 60MHZ |  | 600000
중고/used | Oscilloscope | Tektronix | THS730A |  | 200MHZ |  | 800000
중고/used | OTDR | Fiscan | Fiscan9 |  |  |  | 1500000
중고/used | OTDR | Yokogawa | AQ7275 |  |  |  | 4000000
중고/used | Paperless Recorder | Yokogawa | GP20 |  |  |  | 4500000
중고/used | PC | LG | B70EV-AP5T1KE |  | i5-6400, Ram 4GB,HDD 500 GB |  | 250000
중고/used | Power Meter / Analyzer | Fluke | 1735 |  | 3상4선 |  | 2000000
중고/used | Power Meter / Analyzer | Hioki | 3332 |  | 단상 |  | 900000
중고/used | Power supply | Agilent(HP) | 6622A |  |  |  | 300000
중고/used | Power supply | Agilent(HP) | 6673A |  | 35V,60A, 2100W |  | 1600000
중고/used | Power supply | Agilent(HP) | E3615A |  |  |  | 50000
중고/used | Power supply | Agilent(HP) | E3630A |  | 35W, Triple |  | 100000
중고/used | Power supply | Agilent(HP) | E3631A |  | 5V5A / +-25V1A |  | 500000
중고/used | Power supply | Agilent(HP) | E3632A |  | 15V,7A / 30V, 4A |  | 300000
중고/used | Power supply | Agilent(HP) | E3645A |  | 범위 1: 0 ~ 35 V / 2.2 A , 범위 2: 0 ~ 60 V / 1.3 A |  | 600000
중고/used | Power supply | Chroma | 6408 |  | Programable |  | 1000000
중고/used | Power supply | Chroma | 61504 |  | AC 2000VA , Voltage 150V/300V/Auto , Current 16A/8A DC , Power 1000W , 212V/424V , 8A/4A |  | 4200000
중고/used | Power supply | Digital | DRP-185D |  | 18V 5A 1ch Digital |  | 50000
중고/used | Power supply | Digital | DRP-9303DU |  | 30V, 3A 2ch digital |  | 90000
중고/used | Power supply | EZ | PDP-1507 |  | 15V, 7A |  | 100000
중고/used | Power supply | interact | IPS18B10 |  | 18V, 10A |  | 150000
중고/used | Power supply | Kikusui | PAS40-9 |  | 40V, 9A |  | 500000
중고/used | Power supply | Kikusui | PCR1000L |  | AC/1kVA |  | 2200000
중고/used | Power supply | Kikusui | PCR1000LA |  |  |  | 3000000
중고/used | Power supply | Kikusui | PCR500LA |  |  |  | 2500000
중고/used | Power supply | Protek | PL-3005D |  | 30V, 5A, 2CH |  | 150000
중고/used | Power supply | Protek | PL-5003S |  | 50V / 3A / 160W / 1ch |  | 150000
중고/used | Power supply | Sorenson | DCS33-33E |  | 33V, 33A |  | 800000
중고/used | Power supply | Tagasago | EX-1500H2 |  | 240V 25A 1500W |  | 1500000
중고/used | Power supply | Tagasago | EX-375H2 |  | 240V, 6.3A |  | 650000
중고/used | Power supply | Tagasago | EX-375U2 |  |  |  | 750000
중고/used | Power supply | TMS | TSP6035 | 6674A대체가능 | 60V, 35A,usb |  | 700000
중고/used | Power supply | Toyotech | DP30-05TP |  | 30V 5A 2ch |  | 150000
중고/used | Power supply module | Agilent(HP) | N6751A |  | Module |  | 500000
중고/used | RF Power Meter | Agilent(HP) | 436A |  |  |  | 100000
중고/used | RF Power Meter | Agilent(HP) | 437B |  |  |  | 150000
중고/used | RF Power Meter | Agilent(HP) | E4416A |  |  |  | 1200000
중고/used | RF Power Meter | Agilent(HP) | E4418B |  |  |  | 800000
중고/used | RF Power Meter | Agilent(HP) | E4419B |  |  |  | 1200000
중고/used | RF Power Meter | Bird | 5000 |  |  |  | 200000
중고/used | RF Power Sensor | Agilent(HP) | 8482A |  |  |  | 500000
중고/used | RF Power Sensor | R&S | NRT-Z44 |  |  |  | 1200000
중고/used | Signal Generator | Agilent(HP) | 35665 |  |  |  | 1200000
중고/used | Signal Generator | Agilent(HP) | 8341B |  |  |  | 4000000
중고/used | Signal Generator | Agilent(HP) | 83624B |  |  |  | 6000000
중고/used | Signal Generator | Agilent(HP) | 83712B | 1E1/1E5 |  |  | 4500000
중고/used | Signal Generator | Agilent(HP) | 8648C | 1E5/ | 9kHz~3.2GHz |  | 900000
중고/used | Signal Generator | Agilent(HP) | 8664A | 001/004 | 1MHz~3GHz |  | 900000
중고/used | Signal Generator | Agilent(HP) | 8665A |  | 100kHz~4.2GHz |  | 1200000
중고/used | Signal Generator | Agilent(HP) | E4431B | 1E5/ | 250kHz~2GHz |  | 1200000
중고/used | Signal Generator | Agilent(HP) | E4432B |  | 250KHz~3GHz |  | 1400000
중고/used | Signal Generator | Agilent(HP) | E4433B |  | 250KHz~4GHz |  | 1800000
중고/used | Signal Generator | Agilent(HP) | E4436B |  | 250KHz~3GHz |  | 1500000
중고/used | Signal Generator | Agilent(HP) | E4438C | 1E5/402/503/601 | 250kHz~3GHz |  | 3500000
중고/used | Signal Generator | Agilent(HP) | E8257D |  | 40GHz |  | 43000000
중고/used | Signal Generator | Agilent(HP) | N5182A |  | MXG 3GH |  | 8000000
중고/used | Signal Generator | Eiden | 3315B-001 |  |  |  | 300000
중고/used | Signal Generator | Gigatronix | 6061A |  | 10 kHz ~ 1.050 GHz |  | 250000
중고/used | Signal Generator | R&S | SM300 |  | 9KHz ~ 3GHz |  | 900000
중고/used | Signal Generator | R&S | SMB100A |  | 9 kHz ~ 1.1 GHz |  | 3500000
중고/used | Signal Generator | R&S | SMJ100A | B11/B13/B103/K12/K17/K20/K61/K62/K255 |  |  | 2500000
중고/used | Site Master | Anritsu | S331D | 03 | 25MHz~4GHz, Calkit 포 |  | 1200000
중고/used | Site Master | Anritsu | S331L |  |  |  | 4000000
중고/used | Site Master | Anritsu | S332D |  |  |  | 3000000
중고/used | Source Meter | Keithley | 2400 |  |  |  | 3300000
중고/used | Spectrum Analyzer | Advantest | R3267 |  |  |  | 1800000
중고/used | Spectrum Analyzer | Advantest | R3272 |  | 9kHz~26.5GHz, |  | 1800000
중고/used | Spectrum Analyzer | Advantest | R3671 | 22/60/71/80 | 20Hz~13GHz, 22:High-stability frequency reference source OPT.60 WiBro modulation analysis software OPT.71 2-ch arbitrary waveform generator (AWG) module OPT.80 C/N measurement software |  | 3000000
중고/used | Spectrum Analyzer | Agilent(HP) | 8565EC |  | 30 Hz - 50 GHz |  | 15000000
중고/used | Spectrum Analyzer | Agilent(HP) | 8591C |  |  |  | 800000
중고/used | Spectrum Analyzer | Agilent(HP) | 8594E |  |  |  | 1000000
중고/used | Spectrum Analyzer | Agilent(HP) | 8595E |  |  |  | 1300000
중고/used | Spectrum Analyzer | Agilent(HP) | 8596E | 004/105/151/160/041 |  |  | 2000000
중고/used | Spectrum Analyzer | Agilent(HP) | E4405B |  | 9kHz~13.2GHz |  | 5500000
중고/used | Spectrum Analyzer | Agilent(HP) | E4406A | 204/B78 | 7MHz~4GHz , |  | 800000
중고/used | Spectrum Analyzer | Agilent(HP) | E4407B |  | 26.5GHz |  | 7000000
중고/used | Spectrum Analyzer | Agilent(HP) | E4440A | 1DS/226 |  |  | 12500000
중고/used | Spectrum Analyzer | Agilent(HP) | E4445A | 1DS/204/226/B7J/BAF | 3 Hz - 13.2 GHz |  | 10000000
중고/used | Spectrum Analyzer | Agilent(HP) | N9020A | 526/B25/EA3/P26/PFR | 10 Hz ~ 26.5 GHz |  | 22000000
중고/used | Spectrum Analyzer | Agilent(HP) | N9020A | 513/B25/P03/ | 10 Hz ~ 13.6 GHz |  | 18000000
중고/used | Spectrum Analyzer | Agilent(HP) | N9340B | PA3 | 100kHz~3GHz, PA3: 3GHz Pre Amplifier |  | 2800000
중고/used | Spectrum Analyzer | Anritsu | MS2661C |  | 9k ~3GHz |  | 1500000
중고/used | Spectrum Analyzer | Anritsu | MS2712E | 9/31/42/43/44/65/541/542/546 | 9kHz~4GHz |  | 2000000
중고/used | Spectrum Analyzer | Anritsu | MS2723C |  | 9kHz~13GHz |  | 4000000
중고/used | Spectrum Analyzer | Anritsu | MS2830A | 005/006/008/043 | 13.5GHz |  | 10000000
중고/used | Spectrum Analyzer | GenComm | GC724B | Cal kit 포함 | 25Mhz ~ 4GHz |  | 800000
중고/used | Spectrum Analyzer | GenComm | GC747A | Cal kit 포함 | 100kHz ~ 4GHz |  | 1500000
중고/used | Spectrum Analyzer | JDSU | JD724C | Cal kit 포함 | 5 MHz ~ 4 GHz |  | 1700000
중고/used | Spectrum Analyzer | JDSU | JD785A |  | 8GHz |  | 3500000
중고/used | Spectrum Analyzer | R&S | FSH3 |  |  |  | 1100000
중고/used | Spectrum Analyzer | R&S | FSH4 | 04/K40 | 9kHz~3.6GHz |  | 2700000
중고/used | Spectrum Analyzer | R&S | FSL3 | B10/R03 |  |  | 4500000
중고/used | Spectrum Analyzer | Tektronix | 2714 |  | 1.8GHz, 75ohm |  | 500000
중고/used | Step Attenuator | Weinschel | 8310-202-F |  | 18GHz, 121dBm 1dBm Step, SMA |  | 800000
중고/used | TCA-BNC Adaptor | Tektronix | TCA-BNC |  |  |  | 500000
중고/used | Time Interval Analyzer | Yokogawa | TA520 |  |  |  | 400000
중고/used | Universal Counter | Agilent(HP) | 53131A |  | 0.1Hz~225MHz |  | 500000
중고/used | Universal Counter | EIP | 548B |  | 10Hz~26.5GHz |  | 1000000
중고/used | W/I Auto TESTER | Kikusui | TOS8750 |  |  |  | 500000
중고/used | Wireless Comms Test Set | R&S | CMU200 |  |  |  | 1200000
중고/used | 고장점탐지기 | Telcore | VFL-301 |  |  |  | 100000
중고/used | 열화상카메라 | Agilent(HP) | U5855A |  |  |  | 2400000
중고/used | 열화상카메라 | Fluke | PTi120 |  | -20 ~ 150도, 120*90 |  | 650000
중고/used | 열화상카메라 | ICI | T-Cam 80P |  | 외장Mini Sdcard, -20 ~ 350도, 80*80, 한글지원(X) |  | 600000
중고/used | 열화상카메라 | NEC | R300 |  | S/W 없음. |  | 8000000
문의 : ㈜도울테크 / 박종일 팀장
이메일 : jib@doultech.co.kr
연락처 : 010-3327-0508