## Sheet1
Hot Sale List 21년 07월
문의 : ㈜도울테크 / 박종일 팀장
이메일 : sales@doultech.co.kr / jib@doultech.co.kr
| 연락처(Dir) : 070-8855-6641 | [6 empty] | VAT별도
분류_no | 상태 | 품명 | 제조사 | 모델명 | Opt | 내용 | List Price | Sale List 가격
2 | 신품/new | Attenuator | Bird | 10-A-MFN-20 |  | 10W 20dB N(m)-N(f) DC~4GHz | 200000 | 120000
2 | 신품/new | Clamp Meter | Agilent | U1212A |  | 재고할인, 400~1000V, 40~1000A | 468398 | 365600
2 | 신품/new | Insulation Tester | Agilent | U1452A |  | 재고할인, 1000V, 260GΩ | 1048200 | 774300
2 | 신품/new | Insulation Tester | Agilent | U1452AT |  | 재고할인, 100V, 66GΩ | 897830 | 663300
2 | 신품/new | Insulation Tester | Agilent | U1453A |  | 재고할인, 1000V, 260GΩ | 1188087 | 877700
2 | 신품/new | LCR Meter (Package) | Agilent | U1732P |  | 재고할인, 20pF~20mF, 20uH~2000H, 2Ω~200MΩ | 623538 | 486700
2 | 신품/new | M/W Cable | Huber Suhner | MINI141-48 |  | 재고할인, 24GHz, SMA(m)-SMA(m), 48인치 |  | 51400
2 | 신품/new | M/W Cable | Huber Suhner | MINIBEND-13 |  | 재고할인, 24GHz, SMA(m)-SMA(m), 13인치 |  | 51400
2 | 신품/new | M/W Cable | Huber Suhner | MINIBEND-18.5 |  | 재고할인, 24GHz, SMA(m)-SMA(m), 18.5인치 |  | 51400
2 | 신품/new | M/W Cable | Huber Suhner | MINIBEND-20 |  | 재고할인, 26.5GHz, SMA(m)-SMA(m), 20인치 |  | 96500
2 | 신품/new | M/W Cable | Huber Suhner | SF526S/11PC35/21PC35/1000mm |  | 재고할인, 26.5GHz, PC3.5(female)-PC3.5(male), 1000mm | 1185300 | 829700
2 | 신품/new | M/W Cable | Huber Suhner | SF526S/2*11N/1000mm |  | 재고할인, 18GHz, N(female)-N(male), 1000mm | 1080000 | 700000
2 | 신품/new | M/W Cable | Huber Suhner | SF526S/2*11PC35/1000mm |  | 재고할인, 26.5GHz, PC3.5(male)-PC3.5(male), 1000mm | 1120000 | 720000
2 | 신품/new | M/W Cable | Huber Suhner | SF526V/35VF/35VM/635mm |  | 재고할인, 26.5GHz, PC3.5(female)-PC3.5(male), 635mm | 2300000 | 1610000
2 | 신품/new | M/W Cable | Huber Suhner | SF550E/2*11PC24503/914mm |  | 신품출시, 50GHz, PC2.4(male)-PC2.4(male), 914mm | 775100 | 672400
2 | 신품/new | M/W Cable | Huber Suhner | SF550S/2*11PC24501/500mm |  | 신품출시, 50GHz, PC2.4(male)-PC2.4(male), 500mm | 1348100 | 1078500
2 | 신품/new | M/W Cable | Huber Suhner | TL-8A-11N-11SMA-00600-51 |  | 재고할인, 8GHz, N(male)-SMA(m), 600mm | 187700 | 90000
2 | 신품/new | Network Analyzer | Keysight | E5071C | 245 | 재고할인, 4.5GHz, 2port, Black |  | 22000000
2 | 신품/new | Oscilloscope | Keysight | DSO-X3024T |  | 재고할인, 200MHz, 4CH | 6676000 | 5675000
2 | 신품/new | Oscilloscope | Keysight | U1602B | 001 (USB) | 재고할인, 20MHz, 2CH | 2240000 | 1344000
2 | 신품/new | Power supply | Xantrex | XTS20-3 |  | 20V, 3A, GPIB |  | 350000
2 | 신품/new | 적외선온도계 | Smart Sensor | AR842A+ |  | -50~600도 | 70000 | 50000
3 | 신품/new (데모용) | Multimeter | Agilent | U1233A | 데모용 | 6000Count | 237900 | 120000
3 | 신품/new (데모용) | Oscilloscope | Keysight | U1604B | 001 (USB) | 40MHz, 2CH | 2742000 | 1370000
3 | 신품/new (데모용) | Power Meter / Analyzer | Tekon | 550 | 데모용 | 단상, 전기안전대행보고서양식사용가능 | 1300000 | 950000
3 | 신품/new (데모용) | Signal Generator | Doultech | DSG-300A | 데모용 | 70MHz~3GHz, PC S/W만, 3G, 4G, LTE, W-CDMA | 9000000 | 6500000
4 | 중고/used | AC Ground tester | GwinstEK | GCT-630 |  |  |  | 1100000
4 | 중고/used | Attenuator | Bird | 1000-WA-FFN-30 |  | 1000W Fixed Attenuator N(f)-N(f) 30dB, 2.4GHz |  | 600000
4 | 중고/used | Attenuator | Bird | 300-WA-FFN-40 |  | 300W Fixed Attenuator N(f)-N(f) 40dB, 2.4GHz |  | 200000
4 | 중고/used | Attenuator | Bird | 500-WA-MFN-30 |  | 500W Fixed Attenuator N(m)-N(f) 30dB, 2.4GHz |  | 400000
4 | 중고/used | Attenuator | INMET | 2N50W-30F |  | 2.5GHz, 50W, 30dB, N(f)-N(f) |  | 100000
4 | 중고/used | Attenuator | JFW | 50FH-010-10 |  | 4GHz, 10W, 10dB, N(m)-N(f) |  | 100000
4 | 중고/used | Attenuator | JFW | 50FH-020-10 |  | 4GHz, 10W, 20dB, N(m)-N(f) |  | 100000
4 | 중고/used | Attenuator | JFW | 50FHC-010-20 |  | 4GHz, 20W, 10dB, N(m)-N(f) |  | 100000
4 | 중고/used | Attenuator | JFW | 50FHC-020-20 |  | 4GHz, 20W, 20dB, N(m)-N(f) |  | 100000
4 | 중고/used | Attenuator | Narda | 765-10 |  | 5GHz, 50W, 10dB |  | 100000
4 | 중고/used | Attenuator | Narda | 766-10 |  | 4GHz, 20W, 10dB, N(f)-N(m) |  | 100000
4 | 중고/used | Attenuator | Narda | 766-3 |  | 4GHz, 20W, 3dB, N(f)-N(m) |  | 100000
4 | 중고/used | Attenuator | Narda | 768-20 |  | 11GHz, 20W, 20dB |  | 100000
4 | 중고/used | Attenuator | Radiall | R417306118 |  | 2GHz, 25W, 6dB, N(m)-N(f) |  | 100000
4 | 중고/used | Attenuator | Radiall | R417310118 |  | 2GHz, 25W, 10dB, N(m)-N(f) |  | 100000
4 | 중고/used | Attenuator | Weinschel | 23-10-34 |  | 18GHz, 10W, 10dB |  | 100000
4 | 중고/used | Attenuator | Weinschel | 23-20-34 |  | 18GHz, 10W, 20dB |  | 100000
4 | 중고/used | Attenuator | Weinschel | 23-6-34 |  | 18GHz, 10W, 6dB |  | 100000
4 | 중고/used | Attenuator | Weinschel | 24-10-34 |  | 8,5GHz, 50W, 10dB |  | 100000
4 | 중고/used | Attenuator | Weinschel | 24-10-43 |  | 8,5GHz, 50W, 10dB |  | 100000
4 | 중고/used | Attenuator | Weinschel | 24-20-43 |  | 8,5GHz, 50W, 20dB |  | 100000
4 | 중고/used | Attenuator | Weinschel | 24-3-43 |  | 8.5G, 50W, 3dB |  | 100000
4 | 중고/used | Attenuator | Weinschel | 33-20-34 |  | 8.5G, 25W, 20dB |  | 100000
4 | 중고/used | Attenuator | Weinschel | 33-3-34 |  | 8.5GHz, 50W, 3dB |  | 100000
4 | 중고/used | Attenuator | Weinschel | 34-20-34 |  | 4GHz, 25W, 20dB, N(f)-N(m) |  | 100000
4 | 중고/used | Attenuator | Weinschel | 45-30-43 |  | 1.5G, 250W, 30dB |  | 200000
4 | 중고/used | Attenuator | Weinschel | 47-10-34 |  | 18GHz(?), 50W, 10dB |  | 100000
4 | 중고/used | Attenuator | Weinschel | 48-10-34 |  | 18GHz, 100W, 10dB |  | 100000
4 | 중고/used | Attenuator | Weinschel | 49-30-34 |  | 8.5GHz, 150W, 30dB |  | 100000
4 | 중고/used | Attenuator | Weinschel | 58-40-34 |  | 6GHz, 250W, 40dB |  | 200000
4 | 중고/used | Attenuator | Weinschel | 68-30-43 |  | 4GHz, 100W, 30dB |  | 100000
4 | 중고/used | Attenuator | Weinschel Associates | WA33-10 |  | 8.5GHz, 25W, 10dB, N(m)toN(f) |  | 100000
4 | 중고/used | Attenuator (Step) | JFW | 50BR-112 |  | DC~2700MHZ, 0~110dB |  | 250000
4 | 중고/used | Attenuator (Step) | Weinschel | 8310-202-F |  | 18GHz, 121dBm 1dBm Step, SMA |  | 800000
4 | 중고/used | AWG | Tektronix | AWG2040 |  | 1.024 GS/sec Clock Rate Provides up to 500MHz Waveforms |  | 1000000
4 | 중고/used | AWG | Tektronix | AWG510/03 |  | 1GS/s, 1 CH |  | 1500000
4 | 중고/used | Battery Analyzer | Powertron | IBEX3000 |  |  |  | 900000
4 | 중고/used | Battery Analyzer | Wens | WENS900 |  |  |  | 900000
4 | 중고/used | Battery Analyzer | Wens | WENS900B |  |  |  | 900000
4 | 중고/used | Bluetooth tester | R&S | CBT | K52/K54/K55/B41/B55 |  |  | 7000000
4 | 중고/used | Bluetooth tester | Tescom | TC-3000A | 10/20/30 |  |  | 1500000
4 | 중고/used | Bluetooth tester | Tescom | TC-3000A | 10/20/30/40 |  |  | 3000000
4 | 중고/used | Bluetooth tester | Tescom | TC-3000A | 10/20/40 |  |  | 1500000
4 | 중고/used | Bluetooth tester | Tescom | TC-3000C | 10/20/30/40/50 |  |  | 15000000
4 | 중고/used | Cal kit | Agilent | 85036B |  | 75옴 |  | 2500000
4 | 중고/used | Capacitance Meter | HP | 4278A | 101/201 | 1kHz, 1MHz |  | 1000000
4 | 중고/used | Clamp meter | Fluke | 1630-2 FC |  |  |  | 1000000
4 | 중고/used | Clamp meter | Fluke | 376FC |  |  |  | 200000
4 | 중고/used | Current Probe | Tektronix | TCP202 |  | DC~50MHz, Peak 50A, Permanent DC 30A |  | 1200000
4 | 중고/used | Current Probe Amp. | Tektronix | TCPA300 |  |  |  | 1100000
4 | 중고/used | Data Acquisition Unit | Yokogawa | SL1000 |  | 701261 4EA포함 |  | 5000000
4 | 중고/used | Differential Probe | Tektronix | P7313-SMA |  |  |  | 2800000
4 | 중고/used | Digital Signal Analyzer | Agilent | DSA90804A | 023/DSA |  |  | 21000000
4 | 중고/used | Earth tester | Megger | DET2/2 |  |  |  | 2800000
4 | 중고/used | Electronic Load | Kikusui | PLZ-152WA |  | 150W |  | 700000
4 | 중고/used | Electronic Load | Kikusui | PLZ-164W |  | 165W |  | 1600000
4 | 중고/used | ESS Simulator | NoiseKen | ESS-2000 |  |  |  | 5500000
4 | 중고/used | Frequency Counter | Agilent(HP) | 53131A |  | 0.1Hz~225MHz |  | 500000
4 | 중고/used | Frequency Counter | Agilent(HP) | 53131A | 010/030 | 3GHz |  | 1000000
4 | 중고/used | Frequency Counter | Agilent(HP) | 53132A |  | 0.1Hz~225MHz |  | 750000
4 | 중고/used | Frequency Counter | EIP | 548B |  | 10Hz~26.5GHz |  | 1000000
4 | 중고/used | Function Generator | Agilent(HP) | 33120A |  |  |  | 500000
4 | 중고/used | Function Generator | Agilent(HP) | 33250A |  | 1uHz~80MHz |  | 2000000
4 | 중고/used | GPS Signal Generator | Spirent | GSS6300 | GPS/GLONASS/GALILEO |  |  | 10000000
4 | 중고/used | GPS Signal Generator | Spirent | GSS6300 | GPS/GLONASS |  |  | 5000000
4 | 중고/used | Insulation Tester | Fluke | 1503 |  |  |  | 450000
4 | 중고/used | Insulation Tester | Kikusui | TOS7200 |  |  |  | 500000
4 | 중고/used | L meter | NF | 2331TI |  |  |  | 1000000
4 | 중고/used | LCR Meter | Agilent | E4982A |  | 1MHz~3GHz |  | 15000000
4 | 중고/used | LCR Meter | Agilent(HP) | 4285A |  | 75kHz~30MHz |  | 4000000
4 | 중고/used | LCR Meter | Fluke | PM6304 | 003 | 1mHz~100kHz |  | 1000000
4 | 중고/used | LCR Meter | Hioki | 3522-50 |  | 1mHz~100kHz |  | 1200000
4 | 중고/used | LCR Meter | Hioki | 3532-50 |  | 42Hz∼5MHz |  | 2500000
4 | 중고/used | Leakage Current Tester | Hioki | 3283 |  |  |  | 250000
4 | 중고/used | Leakage Current Tester | Kyoritsu | 2433 |  |  |  | 200000
4 | 중고/used | Logic Analyzer | Agilent | 16902B |  |  |  | 2000000
4 | 중고/used | LTE Wireless Comms tester | Aeroflex | 7100 |  |  |  | 3000000
4 | 중고/used | LTE Wireless Comms tester | Agilent | T2010A | H01/H03/H22/H41 |  |  | 1500000
4 | 중고/used | MIMO Test system | Litepoint | IQNXN |  |  |  | 800000
4 | 중고/used | Mobile Corder | Yokogawa | DX106 |  | 6CH |  | 300000
4 | 중고/used | Mobile Corder | Yokogawa | MV1006 |  | MV1000-6CH |  | 2000000
4 | 중고/used | Mobile Corder | Yokogawa | MV230 |  | 온도 30CH |  | 2000000
4 | 중고/used | Mobile Test Analyzer | Agilent | E6621A |  |  |  | 1000000
4 | 중고/used | Mobile Test Analyzer | R&S | AMU200 |  | Base Band Signal And Fading Simulator |  | 1200000
4 | 중고/used | Mobile Test Analyzer | R&S | AMU200A |  | Base Band Signal And Fading Simulator |  | 2000000
4 | 중고/used | Mobile Test Analyzer | R&S | CMU200 |  |  |  | 1200000
4 | 중고/used | Mobile Test Analyzer | R&S | CMW500 |  | 1CH, LTE, WCDMA |  | 12000000
4 | 중고/used | Multimeter | ADCMT | 7451A |  |  |  | 800000
4 | 중고/used | Multimeter | Agilent | 34410A |  |  |  | 600000
4 | 중고/used | Multimeter | Agilent | U3401A |  |  |  | 400000
4 | 중고/used | Multimeter | Agilent(HP) | 3478A |  |  |  | 100000
4 | 중고/used | Multimeter | EZ | DM-441B |  | 4.5digit |  | 100000
4 | 중고/used | Multimeter | Fluke | 45 |  |  |  | 400000
4 | 중고/used | Multimeter | Fluke | 179 |  |  |  | 170000
4 | 중고/used | Multimeter | Fluke | 187 |  |  |  | 250000
4 | 중고/used | Multimeter | Fluke | 189 |  |  |  | 300000
4 | 중고/used | Multimeter | Fluke | 8808A |  |  |  | 600000
4 | 중고/used | Multimeter | Fluke | 8842A |  |  |  | 300000
4 | 중고/used | Multimeter | Keithley | 2000 |  |  |  | 550000
4 | 중고/used | Multimeter | Keithley | 2700 |  | 6.5digit |  | 600000
4 | 중고/used | Multimeter | Tektronix | DMM254 |  |  |  | 100000
4 | 중고/used | Multimeter | Tektronix | DMM4020 |  |  |  | 600000
4 | 중고/used | Network Analyzer | Agilent(HP) | 8720ES | 1D5 |  |  | 14000000
4 | 중고/used | Network Analyzer | Agilent(HP) | 8753E | 010/1D5 | 3GHz |  | 3500000
4 | 중고/used | Network Analyzer | Agilent(HP) | 8753E | 006 | 6GHz |  | 5000000
4 | 중고/used | Network Analyzer | Agilent(HP) | 8753ES | 006 | 6GHz |  | 6000000
4 | 중고/used | Network Analyzer | Agilent(HP) | E5071A | 016/414/1E5 | 8.5GHz, 4port |  | 10000000
4 | 중고/used | Network Analyzer | Agilent(HP) | E5071B | 010/016/1E5/214 | 8.5GHz |  | 13000000
4 | 중고/used | Network Analyzer | HP | 4396A | 1C2/1D5/1D6 | 100kHz~1.8GHz |  | 2000000
4 | 중고/used | Network Analyzer | HP | 8753D | 1D5/002/006/010 | 6GHz |  | 3500000
4 | 중고/used | Network Analyzer | Keysight | E5071C | 285 | 8.5GHz, 2port, Black body |  | 23000000
4 | 중고/used | Network Analyzer | Protek | A333 |  | 0.3MHz~3.2GHz |  | 3500000
4 | 중고/used | Network Analyzer | Protek | A338 |  | 300kHz~8GHz |  | 8000000
4 | 중고/used | Network Analyzer | R&S | ZVRE | B21/B23/B24 | 9kH~4GHz |  | 3500000
4 | 중고/used | Noise Figure Analyzer | Agilent(HP) | N8973A |  |  |  | 4500000
4 | 중고/used | Noise Figure Analyzer | Agilent(HP) | N8975A |  | 26.5GHz |  | 28000000
4 | 중고/used | Optical / OTDR | Fiscan | Fiscan9 |  |  |  | 1500000
4 | 중고/used | Optical / OTDR | Yokogawa | AQ1200 |  |  |  | 3500000
4 | 중고/used | Optical Fiber Identifier | Wilcom | F6222 |  |  |  | 750000
4 | 중고/used | Optical Power meter | Damul | Damul1.0 |  | 1260~1620nm |  | 120000
4 | 중고/used | Optical Power meter | JDSU | OLP-35 |  | 780~1650nm, -65~+10dBm |  | 250000
4 | 중고/used | Optical Power meter | JDSU | OLP-38 |  | 850~1625nm, -50~+26dBm |  | 350000
4 | 중고/used | Optical Power meter | JDSU | OLP-6 |  | 850/1300 or 1310/1550nm, -65~+10dBm |  | 100000
4 | 중고/used | Optical Power meter | Ynet | FOF-100 |  |  |  | 120000
4 | 중고/used | Optical Spectrum Analyzer | Ando | AQ6331 |  | 1200~1700nm |  | 6000000
4 | 중고/used | Oscilloscope | Agilent | U1620A |  | 200Mhz, 2CH, Handtype |  | 2500000
4 | 중고/used | Oscilloscope | Agilent(HP) | 54825A |  | 500MHz, 4CH, 2GSa/s |  | 1400000
4 | 중고/used | Oscilloscope | Agilent(HP) | 54832D |  | 1GHz, 4+16 Ch |  | 3000000
4 | 중고/used | Oscilloscope | Agilent(HP) | DSO1024A |  | 200MHZ, 4CH |  | 1500000
4 | 중고/used | Oscilloscope | Agilent(HP) | DSO7054A |  | 500MHZ, 4CH |  | 6000000
4 | 중고/used | Oscilloscope | Agilent(HP) | MSO6104A | 8MH | 1GHz, 4+16CH |  | 5200000
4 | 중고/used | Oscilloscope | Agilent(HP) | MSO8104A | 160 | 1GHz, 4+16CH, 4GSa/s |  | 6000000
4 | 중고/used | Oscilloscope | Fluke | 196B |  | 100Mhz, 2CH |  | 700000
4 | 중고/used | Oscilloscope | Lecroy | 9354AL |  | 500MHz, 4CH |  | 700000
4 | 중고/used | Oscilloscope | LeCroy | LT374L |  | 500MHz, 4CH |  | 1200000
4 | 중고/used | Oscilloscope | LeCroy | LT584L |  | 1GHz, 4CH |  | 1600000
4 | 중고/used | Oscilloscope | Lecroy | Waverunner6051A |  | 500MHz, 2CH |  | 1500000
4 | 중고/used | Oscilloscope | LeCroy | Waverunner-64Xi-A |  | 600MHz, 4CH |  | 5500000
4 | 중고/used | Oscilloscope | Tektronix | 11801B | SD-24 | Main Frame |  | 1000000
4 | 중고/used | Oscilloscope | Tektronix | DPO2002B |  | 70MHz, 2CH |  | 1000000
4 | 중고/used | Oscilloscope | Tektronix | DPO2012 |  | 100MHz, 2CH |  | 1200000
4 | 중고/used | Oscilloscope | Tektronix | DPO2024B |  | 200MHz, 4CH |  | 2300000
4 | 중고/used | Oscilloscope | Tektronix | DPO4054 |  | 500MHz, 4CH |  | 5500000
4 | 중고/used | Oscilloscope | Tektronix | DPO7104 |  | 1GHz, 4CH |  | 7000000
4 | 중고/used | Oscilloscope | Tektronix | DPO71254 |  | 12.5GHz, 4CH |  | 30000000
4 | 중고/used | Oscilloscope | Tektronix | MSO4104 |  | 1GHz, 4CH |  | 7500000
4 | 중고/used | Oscilloscope | Tektronix | TBS1202B |  | 200MHz, 2CH, 2GS/s |  | 1400000
4 | 중고/used | Oscilloscope | Tektronix | TBS2102 |  | 100MHz, 2CH, Warranty |  | 1250000
4 | 중고/used | Oscilloscope | Tektronix | TDS2004C |  | 70MHz, 4CH |  | 900000
4 | 중고/used | Oscilloscope | Tektronix | TDS2012 |  | 100MHz, 2CH |  | 500000
4 | 중고/used | Oscilloscope | Tektronix | TDS2012C |  | 100MHz, 2CH |  | 800000
4 | 중고/used | Oscilloscope | Tektronix | TDS2014 |  | 100MHz, 4CH |  | 1000000
4 | 중고/used | Oscilloscope | Tektronix | TDS2014B |  | 100MHz, 4CH |  | 1500000
4 | 중고/used | Oscilloscope | Tektronix | TDS2022B |  | 200MHz, 2CH |  | 1000000
4 | 중고/used | Oscilloscope | Tektronix | TDS2022C |  | 200MHz, 2CH |  | 1600000
4 | 중고/used | Oscilloscope | Tektronix | TDS2024B |  | 200MHz, 4CH |  | 1200000
4 | 중고/used | Oscilloscope | Tektronix | TDS2024C |  | 200MHz, 4CH |  | 2000000
4 | 중고/used | Oscilloscope | Tektronix | TDS3012B |  | 100MHz, 2CH |  | 850000
4 | 중고/used | Oscilloscope | Tektronix | TDS3014 |  | 100MHz, 4CH |  | 1000000
4 | 중고/used | Oscilloscope | Tektronix | TDS3032 |  | 300MHz, 2CH |  | 1000000
4 | 중고/used | Oscilloscope | Tektronix | TDS3032B |  | 300MHz, 2CH |  | 1100000
4 | 중고/used | Oscilloscope | Tektronix | TDS3034B |  | 300MHz, 4CH |  | 1400000
4 | 중고/used | Oscilloscope | Tektronix | TDS3052B |  | 500MHz, 2CH |  | 1400000
4 | 중고/used | Oscilloscope | Tektronix | TDS3054 |  | 500MHz, 4CH |  | 1800000
4 | 중고/used | Oscilloscope | Tektronix | TDS3054B |  | 500MHz, 2CH |  | 2300000
4 | 중고/used | Oscilloscope | Tektronix | TDS5104 |  | 1GHz, 5GS/s, 4CH |  | 2400000
4 | 중고/used | Oscilloscope | Tektronix | TDS520A |  | 500MHz, 2CH |  | 500000
4 | 중고/used | Oscilloscope | Tektronix | TDS7104 |  | 1GHz, 4CH |  | 2000000
4 | 중고/used | Oscilloscope | Tektronix | TDS724D |  | 500MHz, 2CH |  | 1100000
4 | 중고/used | Oscilloscope | Tektronix | TDS7254B |  | 2.5GHz, 4CH |  | 4200000
4 | 중고/used | Oscilloscope | Tektronix | TDS7404 |  | 4GHz, 4CH |  | 7000000
4 | 중고/used | Oscilloscope | Tektronix | TDS744A |  | 500MHz, 4CH |  | 1300000
4 | 중고/used | Oscilloscope | Tektronix | TDS754C | 13/1F/HD/2M/2F/2C | 500MHz, 4CH |  | 1500000
4 | 중고/used | Oscilloscope | Tektronix | THS710A |  | 60MHZ, 2CH, Handy형 |  | 600000
4 | 중고/used | Oscilloscope | Yokogawa | DL1540 |  | 100MHz, 4CH |  | 600000
4 | 중고/used | Oscilloscope | Yokogawa | DL750P |  | 100MHz, 16CH |  | 3000000
4 | 중고/used | Oscilloscope | Yokogawa | DL9040 |  | 500MHz, 4CH |  | 3500000
4 | 중고/used | Oscilloscope | Yokogawa | DL9040L |  | 500MHz, 4CH |  | 5000000
4 | 중고/used | Oscilloscope | Yokogawa | DL9505L |  | 500MHz, 4CH |  | 7000000
4 | 중고/used | Oscilloscope | Yokogawa | DLM2054 |  | 500MHz, 4CH |  | 4300000
4 | 중고/used | Power Analyzer | N4L | PPA2530 |  | 3CH |  | 7000000
4 | 중고/used | Power Meter / Analyzer | Fluke | 1735 |  | 3상4선 |  | 2000000
4 | 중고/used | Power Meter / Analyzer | Fluke | 435-2 |  |  |  | 6000000
4 | 중고/used | Power Meter / Analyzer | Lutron | DW-6095 |  | 3상.Probe 포함 |  | 800000
4 | 중고/used | Power Meter / Analyzer | Yokogawa | WT210 |  |  |  | 1200000
4 | 중고/used | Power supply | Agilent | 66319B |  | 15V, 3A |  | 300000
4 | 중고/used | Power Supply | Agilent | 66319D |  | 15V, 3A |  | 500000
4 | 중고/used | Power supply | Agilent | 66321D |  | 15V, 3A |  | 500000
4 | 중고/used | Power supply | Agilent | 66332A |  | 20V, 5A |  | 250000
4 | 중고/used | Power supply | Agilent(HP) | 6621A |  | 0~7V 0~10A / 0~20V 0~4A |  | 250000
4 | 중고/used | Power supply | Agilent(HP) | 6622A |  | Output1: 20V, 4A/ Output2: 50V, 4A/ 100W |  | 300000
4 | 중고/used | Power supply | Agilent(HP) | 6626A |  | 25W |  | 300000
4 | 중고/used | Power supply | Agilent(HP) | 6627A |  | 20V/2A or 50V/0.8A |  | 300000
4 | 중고/used | Power supply | Agilent(HP) | 66311B |  | 45w, 15V, 3A |  | 200000
4 | 중고/used | Power supply | Agilent(HP) | 66321B |  | 15V, 3A |  | 400000
4 | 중고/used | Power supply | Agilent(HP) | 6654A |  | 0~60V / 0~9A , 1CH |  | 450000
4 | 중고/used | Power supply | Agilent(HP) | 6673A |  | 35V,60A, 2100W |  | 1600000
4 | 중고/used | Power supply | Agilent(HP) | 6811B |  | 375VA, 300V, 3.25A |  | 1700000
4 | 중고/used | Power supply | Agilent(HP) | E3610A |  | Output 1: 8V/3A or 15V/2A Total 30W |  | 90000
4 | 중고/used | Power supply | Agilent(HP) | E3615A |  | 60W, 20V, 3A |  | 100000
4 | 중고/used | Power supply | Agilent(HP) | E3620A |  | 25V, 1A, Triple out |  | 110000
4 | 중고/used | Power supply | Agilent(HP) | E3630A |  | 35W, Triple |  | 100000
4 | 중고/used | Power supply | Agilent(HP) | E3631A |  | 5V5A / +-25V1A |  | 600000
4 | 중고/used | Power supply | Agilent(HP) | E3632A |  | 15V,7A / 30V, 4A |  | 300000
4 | 중고/used | Power supply | Agilent(HP) | E3640A |  | 20V - 3A, 30W |  | 250000
4 | 중고/used | Power supply | Agilent(HP) | E3642A |  | 범위 1: 0~8V / 5A , 범위 2: 0~20V / 2.5A |  | 400000
4 | 중고/used | Power supply | Agilent(HP) | E3645A |  | 범위 1: 0~35V / 2.2A , 범위 2: 0~60V / 1.3A |  | 600000
4 | 중고/used | Power supply | Chroma | 61504 | 66319 | AC 2000VA Voltage 150V/300V/Auto , Current 16A/8A DCPower 1000W , 212V/424V , 8A/4A |  | 4200000
4 | 중고/used | Power supply | Chroma | 62012P-80-60 |  | 80V, 60A |  | 2200000
4 | 중고/used | Power supply | Daegil | EP-75100 |  | 75V 100A |  | 3000000
4 | 중고/used | Power supply | Digital | DRP-185D |  | 18V 5A 1CH |  | 50000
4 | 중고/used | Power supply | Digital | DRP-9303DU |  | 30V, 3A 2CH |  | 90000
4 | 중고/used | Power supply | EZ | PDP-1507 |  | 15V, 7A |  | 100000
4 | 중고/used | Power supply | HP | 6543A |  | 35V, 6A |  | 400000
4 | 중고/used | Power Supply | HP | 6624A |  | 0~7V, 0~5A; 0~20V, 0~2A, 40W, 4출력 |  | 300000
4 | 중고/used | Power supply | interact | IPS18B10 |  | 18V, 10A |  | 150000
4 | 중고/used | Power supply | Keithley | 2260B-800-2 |  | 800V, 2.88A |  | 2500000
4 | 중고/used | Power supply | Kikusui | PAS40-9 |  | 40V, 9A |  | 500000
4 | 중고/used | Power supply | Kikusui | PCR1000L |  | AC/1kVA |  | 2200000
4 | 중고/used | Power supply | Kikusui | PCR1000LA |  | 1kW, Max out(100V/200V) : 10A/5A |  | 3000000
4 | 중고/used | Power supply | Kikusui | PCR500LA |  | 500W, Max out(100V/200V) : 5A/2.5A |  | 2500000
4 | 중고/used | Power supply | Protek | PL-3005D |  | 30V, 5A, 2CH |  | 150000
4 | 중고/used | Power supply | Protek | PL-5003S |  | 50V / 3A / 160W / 1ch |  | 150000
4 | 중고/used | Power supply | R&S | NGMO2 |  | 15V / 1.5A, 5A |  | 1100000
4 | 중고/used | Power supply | Sorenson | DCS33-33E |  | 33V, 33A |  | 800000
4 | 중고/used | Power supply | Takasago | EX-1500H2 |  | 240V 25A 1500W |  | 1500000
4 | 중고/used | Power supply | Takasago | EX-375H2 |  | 240V, 6.3A |  | 650000
4 | 중고/used | Power supply | Takasago | EX-375U2 |  | 1CH, 0~500V/0~2A, 375W |  | 750000
4 | 중고/used | Power supply | Takasago | ZX-1600HA |  | 640V, 20A, 1600W |  | 1700000
4 | 중고/used | Power supply | Texio | PSW-720L80 |  | 720W, 80V-13.5A , 26.6V-27A |  | 1400000
4 | 중고/used | Power supply | TMS | TSP6035 | 6674A대체가능 | 60V, 35A,usb |  | 700000
4 | 중고/used | Power supply | Toyotech | DP30-05TP |  | 30V 5A 2ch |  | 150000
4 | 중고/used | Power supply | Yokogawa | 7651 | 01 | 10mV~30V/5 range, 1mA~100mA/3 range |  | 850000
4 | 중고/used | Power Suuply | HP | 6813A |  | 1750VA, 300V, 13A |  | 4500000
4 | 중고/used | Pulse Generator | Agilent | 8133A | 002 | 3 GHz |  | 2800000
4 | 중고/used | RF Amp. | Agilent | 33502A |  | 2CH, 50 Vpp |  | 2500000
4 | 중고/used | RF Comm. Test set | HP | 8920A | 001/002/003/004/005/010/013 |  |  | 2200000
4 | 중고/used | RF Power Meter | Agilent(HP) | 437B |  | Freq.Range: 100kHz~110 GHz Power Range: -70~+44dBm (100 pW to 25W) |  | 150000
4 | 중고/used | RF Power Meter | Agilent(HP) | E4418B |  | Freq.Range 100kHz~110GHz |  | 800000
4 | 중고/used | RF Power Meter | Agilent(HP) | E4419B |  | Freq.Range: 9kHz~110GHz, 2CH |  | 1200000
4 | 중고/used | RF Power Meter | Bird | 5000 |  |  |  | 200000
4 | 중고/used | RF Power Sensor | Agilent(HP) | 8482A |  | 100kHz~4.2GHz, –30dBm~+20dBm |  | 500000
4 | 중고/used | RF Power Sensor | R&S | NRT-Z44 |  | 200MHz~4GHz |  | 1200000
4 | 중고/used | Rubidium Frequency Standard | SRS | FS725 |  |  |  | 3500000
4 | 중고/used | Semiconductor Parameter Analyzer | Agilent | 4155C |  | With 41501B |  | 13000000
4 | 중고/used | Signal Analyzer | Tektronix | RSA6114A |  | Real Time Signal Analyzer |  | 20000000
4 | 중고/used | Signal Generator | Agilent(HP) | 8341B |  | 10 MHz - 20 GHz |  | 4000000
4 | 중고/used | Signal Generator | Agilent(HP) | 83624B |  | 2~20GHz |  | 6000000
4 | 중고/used | Signal Generator | Agilent(HP) | 83640B | 001/008 | 10MHz~40GHz |  | 15000000
4 | 중고/used | Signal Generator | Agilent(HP) | 8648C | 1E5/ | 9kHz~3.2GHz |  | 900000
4 | 중고/used | Signal Generator | Agilent(HP) | 8664A | 001/004 | 1MHz~3GHz |  | 900000
4 | 중고/used | Signal Generator | Agilent(HP) | E4431B | 1E5/ | 250kHz~2GHz |  | 1200000
4 | 중고/used | Signal Generator | Agilent(HP) | E4432A |  | 250KHz~3GHz |  | 1200000
4 | 중고/used | Signal Generator | Agilent(HP) | E4432B |  | 250KHz~3GHz |  | 1400000
4 | 중고/used | Signal Generator | Agilent(HP) | E4433B |  | 250KHz~4GHz |  | 1800000
4 | 중고/used | Signal Generator | Agilent(HP) | E4436B |  | 250KHz~3GHz |  | 1500000
4 | 중고/used | Signal Generator | Agilent(HP) | E4438C | 400/506/602/UNJ | 250kHz~6GHz |  | 9500000
4 | 중고/used | Signal Generator | Agilent(HP) | E4438C | 503/602/UNJ | 3GHz |  | 3800000
4 | 중고/used | Signal Generator | Agilent(HP) | N5182A |  | MXG 3GH |  | 8000000
4 | 중고/used | Signal Generator | Anritsu | MG3692B | 2A | 2~20GHz |  | 8000000
4 | 중고/used | Signal Generator | Anritsu | MG3694B | 2B | 2~40GHz |  | 17000000
4 | 중고/used | Signal Generator | Anritsu | MG3700A |  | 250kHz~3GHz |  | 4000000
4 | 중고/used | Signal Generator | Eiden | 3315B-001 |  |  |  | 300000
4 | 중고/used | Signal Generator | Gigatronix | 6061A |  | 10kHz~1.050GHz |  | 250000
4 | 중고/used | Signal Generator | R&S | SM300 |  | 9KHz~3GHz |  | 900000
4 | 중고/used | Signal Generator | R&S | SMJ100A | B11/B13/B103/K12/K17/K20/K61/K62/K255 |  |  | 2500000
4 | 중고/used | Site Master | Anritsu | S331D | 03 | 25MHz~4GHz, Calkit 포 |  | 1200000
4 | 중고/used | Site Master | Anritsu | S331L |  | 2MHz~4 GHz |  | 3300000
4 | 중고/used | Source Meter | Keithley | 2400 |  |  |  | 3300000
4 | 중고/used | Source Meter | Keithley | 2611 |  |  |  | 2500000
4 | 중고/used | Spectrometer | Minolta | CS-1000A |  |  |  | 4500000
4 | 중고/used | Spectrum Analyzer | Advantest | R3361C |  | 9kHz~2.6GHz |  | 1300000
4 | 중고/used | Spectrum Analyzer | Advantest | R3671 | 22/60/71/80 | 20Hz~13GHz |  | 3000000
4 | 중고/used | Spectrum Analyzer | Agilent | 8562B |  | 22GHz |  | 2500000
4 | 중고/used | Spectrum Analyzer | Agilent | 8562E |  | 13.2GHz |  | 2500000
4 | 중고/used | Spectrum Analyzer | Agilent(HP) | 8561E |  | 9kHz ~ 6.5GHz |  | 3000000
4 | 중고/used | Spectrum Analyzer | Agilent(HP) | 8563E | 001/006/007/008 | 9kHz~26.5GHz |  | 3500000
4 | 중고/used | Spectrum Analyzer | Agilent(HP) | 8563EC | 007/026 | 30Hz~26.5GHz |  | 5500000
4 | 중고/used | Spectrum Analyzer | Agilent(HP) | 8591C |  | 1MHz~1.8GHz |  | 800000
4 | 중고/used | Spectrum Analyzer | Agilent(HP) | 8593E |  | 9kHz~22GHz |  | 3000000
4 | 중고/used | Spectrum Analyzer | Agilent(HP) | 8594E |  | 9kHz~2.9GHz |  | 1000000
4 | 중고/used | Spectrum Analyzer | Agilent(HP) | 8595E |  | 9kHz~6.5GHz |  | 1300000
4 | 중고/used | Spectrum Analyzer | Agilent(HP) | E4404B |  | 9kHz~6.7GHz |  | 4500000
4 | 중고/used | Spectrum Analyzer | Agilent(HP) | E4405B |  | 9kHz~13.2GHz |  | 5500000
4 | 중고/used | Spectrum Analyzer | Agilent(HP) | E4406A | 204/B78 | 7MHz~4GHz , |  | 800000
4 | 중고/used | Spectrum Analyzer | Agilent(HP) | E4411B | B72/1DP/227/A4H/A4J | 9kHz~1.5GHz, 75Ω |  | 1200000
4 | 중고/used | Spectrum Analyzer | Agilent(HP) | N9340B | PA3 | 100kHz~3GHz, PA3: 3GHz Pre Amplifier |  | 2500000
4 | 중고/used | Spectrum Analyzer | Anritsu | MS2661C |  | 9kHz~3GHz |  | 1500000
4 | 중고/used | Spectrum Analyzer | Anritsu | MS2713E |  | 6GHz |  | 6500000
4 | 중고/used | Spectrum Analyzer | Anritsu | MS2721B |  | 9kHz~7.1GHz |  | 2800000
4 | 중고/used | Spectrum Analyzer | Anritsu | MS2830A | 005/006/008/043 | 13.5GHz |  | 10000000
4 | 중고/used | Spectrum Analyzer | GenComm | GC747A | Cal kit 포함 | 100kHz~4GHz |  | 1500000
4 | 중고/used | Spectrum Analyzer | GwinstEK | GSP-930/TG |  | 3GHz, TG |  | 2500000
4 | 중고/used | Spectrum Analyzer | HP | 8596E |  | 9kHz~12.8GHz |  | 2000000
4 | 중고/used | Spectrum Analyzer | R&S | FSL3 | B10/R03 | 9kHz~3GHz |  | 4500000
4 | 중고/used | Spectrum Analyzer | R&S | FSQ8 |  | 20Hz~8GHz |  | 15000000
4 | 중고/used | Spectrum Analyzer | Sunrise | CM3000 |  |  |  | 2000000
4 | 중고/used | Spectrum Analyzer | Tektronix | 2714 |  | 1.8GHz, 75ohm |  | 500000
4 | 중고/used | Video Pattern Generator | Quantum | 882E |  |  |  | 2500000
4 | 중고/used | W/I Auto TESTER | Kikusui | TOS8750 |  | 5KV |  | 500000
4 | 중고/used | Wireless Channel Emulator | Spirent | SR5500M |  |  |  | 5000000
4 | 중고/used | WLAN Tester | R&S | PTW70 |  |  |  | 4000000
4 | 중고/used | 고장점탐지기 | Telcore | VFL-301 |  |  |  | 100000
4 | 중고/used | 모니터 | Mtec | Viewsys F2207 |  | 22인치 |  | 40000
4 | 중고/used | 모니터 | NFCNC | SM-240 BEZEL-LESS |  | 24인치 |  | 50000
4 | 중고/used | 열화상카메라 | Agilent(HP) | U5855A |  | -20~350℃, 160*120 |  | 2400000
4 | 중고/used | 열화상카메라 | Fluke | PTi120 |  | -20~150℃, 120*90 |  | 650000
4 | 중고/used | 열화상카메라 | ICI | 8640P | 데모용 | 소형열화상카메라, -20~120℃, 640*512 |  | 10000000
4 | 중고/used | 열화상카메라 | ICI | Duracam X | 데모용 | -20~650℃, 384*288 |  | 3500000
4 | 중고/used | 열화상카메라 | ICI | T-Cam 80P |  | 외장Mini Sdcard, -20~350℃, 80*80, 한글지원(X) |  | 500000
4 | 중고/used | 열화상카메라 | NEC | R300 |  | -40~500℃, 320x240, S/W 별도 |  | 4000000
문의 : ㈜도울테크 / 박종일 팀장
이메일 : sales@doultech.co.kr / jib@doultech.co.kr
연락처(Dir) : 070-8855-6641